[image: image2.png]g[m[3[5]



[image: image3.emf]                  
[image: image4.emf]
[image: image5.emf]

[image: image1.png]30





[image: image6.png]



[image: image7.emf]
[image: image8.emf]
Ziya Gökalp Mah. İkitelli Organize Sanayi Bölgesi Atatürk Bulvarı No:50 34490 Başakşehir / İstanbul / TÜRKİYE


Telefon : +90 212 549 22 52


Faks      : +90 212 549 25 80


Web      : www.emasas.com.tr











�


 EMAS ELEKTROTEKNİK MAKİNA    SANAYİ VE TİCARET A.Ş








Technical Specifications : L5K13MIM311





Order Code:�
�
�
�
L5K13MIM311�
�
�
�
Contact Block:�
�
�
�
1NO + 1NC �
�
�
�
Snap action�
�
Finger protection terminals�
�
Screw washer�
�
Electrical insulated�
�
�
�















Technical Information :





Body:�
�
Fireproof plastic body�
�
PG13,5  cable entry  �
�
�
�
�
General Specifications �
�
�
Operating Temparature �
-5/+40°C�
�
Mechanical life �
10 Million (3000 open-close/hour�
�
Electrical Life�
1 Million (1800 open-close/hour)�
�
C.Block Tightening Torque�
0,6-0,8 Nm�
�
C.Block Connection Wire Profile�
Min: 1x0,5 mm'2�
�
Wire Profile�
Max: 2x2,5 mm'2�
�
Protection Degree�
IP65�
�






Electrical Informations :





Standards: 





- TS EN 60947 -5-1





In contact Blocks;





- VDE 0660 


-  UL 508		





� EMBED CorelDRAW.Graphic.14  ���      � EMBED CorelDRAW.Graphic.14  ���   � EMBED CorelDRAW.Graphic.14  ���                               





�       � EMBED CorelDRAW.Graphic.14  ���      � EMBED CorelDRAW.Graphic.14 ���  








General Specifications �
�
�
�
Range Of Use�
 �
AC15�
�
Operating Voltage�
Ue�
240V AC�
�
Fregquency�
f�
50Hz�
�
Operating Current�
Ie�
3A�
�
Insulation Resistance �
Ui�
300V�
�
Stroke Resistance Voltage�
Uimp�
2,5kV�
�
Dielectrical Strength�
 �
1500V AC�
�






Electrical Informations :





General Specifications �
�
�
�
Range Of Use�
 �
AC15�
�
Operating Voltage�
Ue�
230V AC�
�
Fregquency�
F�
50Hz�
�
Operating Current�
Ie�
4A�
�
Insulation Resistance �
Ui�
300V�
�
Stroke Resistance Voltage�
Uimp�
2.5kV�
�
Dielectrical Strength�
 �
1500V AC�
�









_1360679251.unknown

_1360679400.unknown

_1451213660.unknown

_1360679356.unknown

_1360679229.unknown

