Ziya Gökalp Mah. İkitelli Organize Sanayi Bölgesi Atatürk Bulvarı No:50 34490 Başakşehir / İstanbul / TÜRKİYE

Telefon : +90 212 549 22 52

Faks      : +90 212 549 25 80

Web      : www.emasas.com.tr

EMAS ELEKTROTEKNİK MAKİNA    SANAYİ VE TİCARET A.Ş

Technical Specifications : PPKS11BX10

Technical Information

Standards: Contact Block:TS EN 60947-5-1 (PDA-PD) Body: Plastic body Single Cover Single level Maximum strength to mechanical pulses Ergonomic usage facilitiy with 2 different sizes Contact Block: K 13 1(1NA+1NK)

General Specifications

| OperatingTemperature | min. / max. ºC -5 / +60 |
| --- | --- |
| Mechanical Life (Operating Frequency) | 1.000.000 operations min. Withoud load 3000 operations / hour ) |
| Elecrical Life (Operating Frequency) | 100.000 operations min. At full load 1200 operations / hour) |
| K13 Block Tightening Torque | 0.6-0.8N m |
| K13 Block Connection Wire | Min:1x0.5mm’2 |
| Wire Profile | Max:2x2.5mm’2 |
| Proection Degree | IP 65 |
| General Specifications Range Of Use; AC 15. Rated Operating Voltage; Ue; 250V AC. Fregquency; f; 50Hz. Rated Operating Current; Ie; 4A. Insulation Voltage; Ui; 300V. Electrical Information |