[image: image1.emf]

Data Sheet 62025 

[image: image2.wmf]
E 27 lampholders, one-piece

Material: porcelain, white, T270

Nominal rating: 4/250/5 kV
Screw terminals: 0.5-2.5 mm2 

Spring loaded central contact

Fixing bracket with slots for screws M4

Weight: 66 g, unit: 250 pcs. 
Type 62025
Ref. No. 102593
Type 62025 with brass screw ring

Ref.No. 532712
�









